## misc 12
NATURE WISE ITEMS DEMANDED BY CONTINGENT IN SCH-III BLANK LIST
S.NO | NOMENCLATURE | A/U
TS (MISC ITEMS)
1 | Filter Clamp Belt Type | Nos
2 | Injector Assy | Nos
3 | Coolant Level Sensor (Float Type) | Nos
4 | Plier | Nos
5 | Float cum boost charger (FCBC)48V/25 Amp | Nos
6 | Smoke Detector | Nos
7 | Fire Alarm System | Nos
8 | FM 200 Fire Suppression system fully automated (Dry Powder, CO2) | Nos | Kirlosker Gen Set 400 KVA, DV8.400 W-S2 (2016) (Non Exp)
9 | White Paint | Ltrs
10 | Fire Retardant Paint | Ltrs
11 | Laser range finder | Nos
12 | Smoke Detector Plastic | Nos

## communication63
NATURE WISE ITEMS DEMANDED BY CONTINGENT IN SCH-III BLANK LIST
S.NO | NOMENCLATURE | A/U
TS (COMMUNICATION)
1 | Cordless Tele Set | Nos
2 | Telephone with Memory | Nos
3 | RJ 45 Cord & Connector | Nos
4 | RJ 11 Connector | Nos
5 | UTP Cable Cat 6 (make -D Link) | Nos
6 | Rozet Box T/P Cord U Line | Nos
7 | Standard High Capacity NI MH/ Ni CD/ Li-On Battery minimum 2000 mah, 7.2V Normal (for HHRS Sanchar) | Nos
8 | Bty Charger for NI MH/Ni CD/ Li-On Battery (for HHRS Sanchar) | Nos
9 | Server PC for Cloud Server | Nos
10 | Cordless Phone Alcatel Delta | Nos
11 | Desktop Computer for programming of Exch | Nos
12 | Laptop for Video Conferencing | Nos
13 | Public Address System (Set) | Nos
14 | Hooter with Flasher, 90 DB | Nos
15 | Calling Bell Cordless | Nos
16 | Beetel 24 Ghz cordless phone with two way speaker | Nos
17 | Cordless telephone | Nos
18 | RJ 45 cord & connector | Nos
19 | RJ 80 connector | Nos
20 | FXS Card (Analog Card) | Nos
21 | Exchange 40-60 Lines | Nos
22 | DP Box 50 line | Nos
23 | DP Box 20 line | Nos
24 | Conference Card | Nos
25 | Radio Interface Card | Nos
26 | FXO (CO Jn) card | Nos
27 | Telephone Analog | Nos
28 | Telephone Digital | Nos
29 | DCC (Digital Subscriber) | Nos
30 | Bty Charger 12/24V | Nos
31 | PTR (Pulse Tone Radio) | Nos
32 | Switchboard Exchange (128 Line) (08x16port Analog, 01x16port Digital, 01x8port CO, 01x 04 port E1/PRI, 01x04 port Radio Interface card) | Nos
33 | Console for Exchange | Nos
34 | Float cum boost charger (FCBC)48V/25 Amp | Nos
35 | Bty Charger 12/24V | Nos
36 | DP Box 50 line | Nos
37 | DP Box 20 line | Nos
38 | PTR (Pulse Tone Radio) | Nos
39 | DCC (Digital Subscriber) | Nos
40 | Splitter 4/6/9 way (each) | Nos
41 | FXO (CO Jn) card | Nos
42 | Conference Card | Nos
43 | Radio Interface Card | Nos
44 | Telephone Digital | Nos
45 | Telephone Analog | Nos
46 | Switchboard Exchange (128 Line) (08x16port Analog, 01x16port Digital, 01x8port CO, 01x 04 port E1/PRI, 01x04 port Radio Interface card) | Nos
47 | Integrated Protection Module (IPM) for Surge Protection | Pkt
48 | Hand Free Speaker Phone | Nos
49 | Mega Phone | Nos
50 | Tele Set Beetel | Nos
51 | Digital Clamp Meter | Nos
52 | 2 Line Cordless Telephone Set | Nos
53 | Tele set coller Id | Nos
54 | Tele Set | Nos
55 | RJ-45 Female to Female Connector | Nos
56 | HDD Convertor SATA to USB | Nos
57 | VGA to HDMI Convertor | Nos
58 | Resistance 10Ω | Nos
59 | Resistance 20Ω | Nos
60 | Transistor BC 105 | Nos
61 | CPU Card | Nos
62 | PSU Card | Nos
63 | Programming Terminal/ PC | Nos

## electrical items 177
NATURE WISE ITEMS DEMANDED BY CONTINGENT IN SCH-III BLANK LIST
S.NO | NOMENCLATURE | A/U
TS ( ELECTRICAL ITEMS)
1 | Fire Sprinkler/Hydrant system with sensor | Nos
2 | Extension Bd with 10 mtr electric wire | Nos
3 | Electric Wire 1.5 mm | Roll
4 | Electric wire 2 mm | Roll
5 | LED Bulb 7 Watt | Nos
6 | LED Bulb 40 Watt | Nos
7 | LED Tube Light Complete set | Set
8 | Change over Switch 400 KVA | Nos
9 | 50 sq mm 4 Core Aluminum Cable | Mtr
10 | LED Fencing Light 100 Watts | Nos
11 | AMF Panel Board 400 Amp | Nos
12 | LED Perimeter Light 50 Watts | Nos
13 | Wire 4 Core 10 Sqmm Copper (Roll of 90 Mtr) | Roll
14 | Wire 4 Core 20 Sqmm Copper (Roll of 90 Mtr) | Roll
15 | Wire 4 Core 8 Sqmm Copper (Roll of 90 Mtr) | Roll
16 | Wire 2 Core 10 Sqmm Copper (Roll of 90 Mtr) | Roll
17 | Jointing sheet | Mtr
18 | Wire 1.5 Sq mm (90 Mtr) | Bundle
19 | O' Ring Service Set | Set
20 | Toggle Switch (For Elect Purpose) | Nos
21 | Digital Multimeter Fluke | Nos
22 | Clamp Meter | Nos
23 | Hydro Meter | Nos
24 | AC Elect Tester (Taparia) | Nos
25 | Temperature Controlled Soldering Station | Nos
26 | 30Volt DC Regulated Power Supply | Nos
27 | Halide Torch ( Leak Detector) | Nos
28 | Iron Electric Industrial Siren 220 AC | Nos
29 | MCB 200 Amp (4 Pole) (L&T) | Nos
30 | Change Over Switch 400 Amp | Nos
31 | MCB 100 Amp (4 Pole) (L&T) | Nos
32 | Change Over Switch 200 Amp | Nos
33 | Change Over Switch 100 Amp | Nos
34 | Switch Fuse Unit 250 Amp 4 Pole (L&T) (TPN) | Nos
35 | Switch Fuse Unit 100 Amp 4 Pole (L&T) (TPN) | Nos
36 | Digital Clamp Multi Meter | Nos
37 | Wire 2 core flexible 1.5 mm copper | Roll
38 | MCB DP 32 Amp | Nos
39 | Hanging lamp LED 15W | Nos
40 | Decoration Light ( Ladi) | Mtrs
41 | LED Focus Light 200W | Nos
42 | Tube Rod 40W | Nos
43 | Table Lamp | Nos
44 | LED Flood Light 70W | Nos
45 | Extension Board with 15Amp 4 socket | Nos
46 | Extension cord 5 Amp 4 socket | Nos
47 | UTP Cable Cat 6 (make -D Link) | Nos
48 | Cable 4 core 70mm Aluminium | Mtrs
49 | Cable 3 core 50mm Aluminium | Mtrs
50 | Cable 2 core 16mm Aluminium | Mtrs
51 | Cable 2 core 10mm | Bdl
52 | Cable electrical 4 core 6mm copper | Bdle
53 | Cable electrical unarmoured copper 3 core 4mm | Bdle
54 | MCB 4 pole 100 amps | Nos
55 | PVC pipe 3 inch dia 20ft long | Nos
56 | Fire Alarm System | Nos
57 | Clamp meter AC | Nos
58 | Integrated Protection Module (IPM) for Surge Protection | Pkt
59 | Socket 6 Amp 3 pin | Nos
60 | MCB box all type 12 Way | Nos
61 | Socket 5 Amp pin | Nos
62 | Socket 15 Amp | Nos
63 | Digital multimeter | Nos
64 | Plug 3 pin 5 amp | Nos
65 | Power Board Sunmica 10" x 12" | Nos
66 | Plug pin 5 Amp | Nos
67 | Male and female plug | Set
68 | Stone for grinding machine. (1x Smooth stone and 1 x raugh stone) | Nos
69 | Rocker Arm | Nos
70 | Valve inlet | Nos
71 | Valve Guide | Nos
72 | Cylinder head Gasket | Nos
73 | Piston Standard Size | Nos
74 | Cylinder Liner | Nos
75 | Big end brg upper | Nos | Genr Set 62.5 KVA, Mahindra & Mahidra, Vintage of yr 2016
76 | Big end brg Lower | Nos
77 | Connecting Rod brg | Nos
78 | Oil pump | Nos
79 | Valve Exhaust | Nos
80 | Push Rod | Nos
81 | Turbo Charger | Nos
82 | Seal valve | Nos
83 | Spring Valve | Nos
84 | Gasket Valve Cover | Nos
85 | Cylinder Head bolt | Nos
86 | Tapper Cover Bolt | Nos
87 | Bearing gasket Shaft | Nos
88 | Oil Ring | Nos
89 | Compression Ring | Nos
90 | Gudgen Pin | Nos
91 | Gudgen Pin lock | Nos
92 | Float cum boost charger (FCBC)48V/25 Amp | Nos
93 | 1.5 Sq mm 2 Core cable | Mtr
94 | 2.5 Sq mm 2 Core cable | Mtr
95 | 50 Sq mm 4 Core Aluminium cable | Mtr
96 | Cable JFD 1 | Mtr
97 | Cable JFC ARMD 5 Pair 0.5mm | KM
98 | Cable JFC ARMD 5 Pair 0.5mm | KM
99 | Cable JFD 1 | Mtr
100 | JFC cable 20 Pair | KM
101 | JFC cable 05 Pair | KM
102 | 1.5 Sq mm 2 Core cable | Mtr
103 | 2.5 Sq mm 2 Core cable | Mtr
104 | 50 Sq mm 4 Core Aluminium cable | Mtr
105 | Armoured Copper power cable 4 Core 185 Sqmm | Mtr
106 | Armoured Copper power cable 4 Core 70 Sqmm | Mtr
107 | Armoured 4 core cable 35 SQ mm Copper | Mtr
108 | Un Armoured cable 4 Core 10 SQMM copper | Mtr
109 | 2.5 Sqmm Copper Wire Single (Each Roll 90 Mtr) | Mtr
110 | 1.5 Sqmm Copper Wire Single (Each Roll 90 Mtr) | Mtr
111 | Flexible wire copper 2 Core 1.5 Sqmm | Mtr
112 | 3 Core Cable 2.5 Sqmm | Mtr
113 | MCB 100 Amp 4 pole | Nos
114 | MCB 63Amp 4 Pole | Nos
115 | MCB 40Amp 4 Pole B Curve | Nos
116 | MCB 32Amp 4 Pole B Curve | Nos
117 | MCB 63Amp 3 Pole B Curve | Nos
118 | MCB 16 Amp 2 Pole B Curve | Nos
119 | MCB 63Amp Sp 230V C Curve | Nos
120 | MCB 32Amp Sp 230V B Curve | Nos
121 | MCB 25Amp Sp 230V B Curve | Nos
122 | MCB 16Amp Sp 230V B Curve | Nos
123 | MCB10Amp Sp 230V B Curve | Nos
124 | MCB 6Amp Sp 230V B Curve | Nos
125 | Led Tube light Complete Set 20W, 4 ' Long | Nos
126 | Fluorescent Tube Light Rod 36 W | Nos
127 | 20 W Cfl Bulb Pin type | Nos
128 | BED Switch 5A | Nos
129 | Socket 5/15 A | Nos
130 | Three Pin plug 5 A | Nos
131 | Three Pin plug 15A | Nos
132 | Tube lIght Starter | Nos
133 | Electronic Choke 40W | Nos
134 | Digital Clamp Multi Meter 400 Amp | Nos
135 | LED Security light 100 W | Nos
136 | LED Security light 50 W | Nos
137 | Flexible Wire Casing conduit pipe PVC | Mtr
138 | Square Gang Box 4 Inch | Nos
139 | Exhaust Fan 250MM PVC | Nos
140 | Extension Cord 6 Socket15/5Amp socket | Nos
141 | Pipe Cutter Machine 14" | Nos
142 | LED Halogens 50W with frame | Nos
143 | Halogen 50 W (LED) | Nos
144 | Bulb Full Spiral 12/9W for Table Lamp | Nos
145 | Splitter 4/6/9 way (each) | Nos
146 | Amplifier (Cable TV) | Nos
147 | LNB for dish TV | Nos
148 | Electrician Tool kit | Nos
149 | Power board sunmica Top with 5/15 Amp socket with switch & Indicator | Nos
150 | Two way holder | Nos
151 | Main cut off switch 63 Amp MCB | Nos
152 | UPS 500 W | Nos
153 | Plug 2 Pin male/female | Nos
154 | RG-6 RF Connector for Cable TV (Pkt of 10) | Nos
155 | Soldering Paste | Nos
156 | Soldering Wire | Nos
157 | Horn Speakers 1600W | Nos
158 | Pendent Holder | Nos
159 | Remote bty AAA (Small) | Nos
160 | Sound Sys | Nos
161 | Multimeter Digital | Nos
162 | Machine drill electric | Nos
163 | Security Light (LED 100W) | Nos
164 | Flood Light 50 V Bluebird | Nos
165 | LED Bulb 15W CFL | Nos
166 | Bulb zero watt all colour (set of 6) | Nos
167 | Halogen Rod 500/100W | Nos
168 | Hand Held Search Light | Nos
169 | Voltage stablizer (1KVA) | Nos
170 | Insulation Tape 9 Mtr | Roll
171 | Food Warmer Heating Element 2000W | Nos
172 | Geyser Heating Element Thread Type 2000W | Nos
173 | Geyser Heating Element W/O Thread 2000 W | Nos
174 | Stanley Spanner Set (08mm to 22mm) | Nos
175 | Screw Diver Set Taparia | Set
176 | Flat Screw Driver Set Taparia Heavy Duty (Small to Large) | Set
177 | Two in One Screw Driver Set Taparia | Set